| KIT PART NUMBER: | 20185475 |
| --- | --- |
| DESCRIPTION: | Components to perform a typical annual maintenance / inspection in quantities to cover 8 modules. |
| FOR USE WITH BOILER MODELS: | For use with: Version 2.5 boilers: AR 1000 V2.5 boilers (PN 20177312) up to current AR 1500 V2.5 boilers (PN 20177313) up to current AR 2000 V2.5 boilers (PN 20177314) up to current AR 3000 V2.5 boilers (PN 20177315) up to current AR 4000 V2.5 boilers (PN 20177316) up to current Late production ver. 2.0 boilers for USA produced AFTER week 39 of 2018: AR 1000 V2.0 (USA) boilers (PN 20144525) AFTER Serial# "FC398…" AR 1500 V2.0 (USA) boilers (PN 20144524) AFTER Serial# "FC398…" AR 2000 V2.0 (USA) boilers (PN 20144523) AFTER Serial# "FC398…" AR 3000 V2.0 (USA) boilers (PN 20144522) AFTER Serial# "FC398…" AR 4000 V2.0 (USA) boilers (PN 20144042) AFTER Serial# "FC398…" |

| For spare parts identification diagrams, Reps login to sparevision.com | Refer to the appropriate IO&M when working on the boilers. Contact your local Riello Representative for assistance or Riello technical support 1-800-474-3556. |
| --- | --- |

| COMPONENTS LIST |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item No. | Spare Part No. | Kit Description | Qty in This Kit | Qty. in Package When Re-ordering Spare Part Code |
| 1 | 20101521 | FAN SEALS | 8 | Pkg. of 5 |
| 2 | 20102379 | GRAPHITE ELECTRODE GASKETS | 8 | Pkg. of 5 |
| 3 | 0CR105917 | BURNER TUBE GASKETS | 8 | Pkg. of 1 |
| 4 | 20145794 | BURNER/EXHAUST FLANGE O-RING | 8 | Pkg. of 10 |